## Slide 1: Asset Management Challenges and Options, Including the Implications and Importance of Aging Infrastructure
Presentation to the U.S. Department of Energy by the IEEE Joint Task Force on QER
IEEE JOINT TASK FORCE ON QUADRENNIAL ENERGY REVIEW

## Slide 2: Trends: Resilience and Asset Investments
    Achieving Electric System Resilience
    – Energy Sector is uniquely critical infrastructure as it provides an “enabling function”
    Aging Infrastructure Investment
Reliability/Hardening Investment – Outage cost of $125B/y (DOE), with weather-related ~ ($18B - $33B)/y
    Natural Gas, Renewable, Microgrids, Electric Vehicles, Storage, and Demand response Investment
    Electrical – Natural Gas Interdependency
Complex grid structures require
“Smart Grid” solutions

## Slide 3: Many challenges facing the energy and power infrastructure
Aging assets
Severe weather events
Physical and cyber attacks
Dependencies and inter-relationships with other infrastructures (gas, telecommunications, etc)
Market and policy including recovery of investments

## Slide 4: Holistic Asset Management
  As system ages, operating cost increases and reliability decrease – limited resources for wholesale replacements
  How to manage Smart Grid assets?
  Need for sound strategy for controlling the symptoms of aging within the utility's overall business plan – maintain accepted levels of performance
System
Reliability & Capability
Business Goals
Capital/O&M
Budgets
Aging
Infrastructure
Grid
Hardening
Asset management:
Predictability of Cost & Reliability
    Average systems 40 to 60 years old
    25% of electric infrastructure is of an age and situation where condition is a concern
    Demand for maintenance double over the next 10-20 y

## Slide 5: Asset Management & Infrastructure needs
Although the age of our power infrastructure – particularly underground city networks – is a major issue, the focus should be on a holistic asset management approach to address grid resilience
Tailor grid resiliency investments to focus on facilities with the greatest risk for future events
A dynamic risk landscape requires annual updating to ensure the protection of pertinent assets

## Slide 6: Asset Management & Aging Infrastructure
Asset Management is a key enabler for a secure and affordable electricity infrastructure
Asset Management has brought value to other industries, including electric generation
Asset Management requires coordination across the breadth and depth of a utility organization
Rigorous Asset Management process is a key enabler for a secure and affordable electric infrastructure

## Slide 7: Managing Aging Infrastructure
Promote the application of widespread condition monitoring
Add select elements of Smart Grid to increase situational awareness, reduce outage propagation and improve response to disturbances
Increase coordination between electrical and gas infrastructures
Increase levels of R&D available to electric sector
Coordination between Electrical and Gas Infrastructures is required to ensure Electric System Reliability

## Slide 8: Electrical-Gas Interdependency
There has been a proliferation of natural gas
This has resulted in a shift to use gas for generation, especially as older plants using other fuels are retired
Pipeline capacities are an issue during cold weather
New England governors and other parties are bringing forward creative ideas to make long-term commitments to build new capacity
Additional gas pipeline capacity, accompanied by supply contracts, is required to meet the growing demand for natural gas for power generation

## Slide 9: Security needs
Physical Security
      Transmission Equipment
      System Security: Preventing system impact and Protecting critical substations
      Standards
Cyber Security

## Slide 10: Security: What should we be trying to protect
Fuel Supply and Generation Assets
Transmission and Distribution
Controls and Communications
Other Assets

## Slide 11: Security: What issues impede Protection
Inability to share information
Increased cost of security
Widely dispersed assets
Widely dispersed owners and operators
Finding training and enpowering security personnel
Commercial off-the-shelf (COTS) controls and communications
Siting constraints
Long lead-time equipment
Availability of restoration funds
R&D focused on vulnerabilities

## Slide 12: Asset Strategies 1 (3)
Generation
  Reference NRC methodologies & standards for non-nuclear, where appropriate
Transmission Lines
  Physical security is not the answer here because there are too many transmission lines and mostly in the open. Vulnerabilities should be addressed through redundancy or risk mitigation strategies.
  The Federal government could facilitate redundancy approach by expedited siting and work with state and local governments to facilitate coordinated regional planning of more redundant and less vulnerable transmission grid
  The use of safe, energized work techniques is one solution to reduce congestion and associated costs and minimize service disruptions
  R&D using sensors to create appropriate alarms for line sag, temperature, etc.
  Encourage designs for easier repair, stockpiling of assets and agreements to facilitate recovery following events

## Slide 13: Asset Strategies 2 (3)
Key substations and Switchyards
  The correct level of security needs to be determined via a triage process under which utilities protect their most valuable resources
  Recovery from attack is impeded by long lead-time to obtain transformers and other components.
  Assist with addressing constraints on movements of equipment, especially large assets
  Support the implementation of spare equipment programs and initiatives
  Continue to work with industry and manufacturers to expand the existing self-healing transformer and grid programs and on standardization and modularization of key equipment to make replacement easier
Distribution of National Significance
  Strengthen federal, state and local coordination on distribution systems of national significance to make replacement easier

## Slide 14: Asset Strategies 3 (3)
Controls and Communications
  Increase R&D so as to increase security without decreasing reliability and functionality
  Federal outreach and awareness and the development of standard requirements, e.g. for control system personnel, procedures and technology
  Secure communications requires coordination between federal agencies such as U.S. DOE and FCC
  The Federal Government could promote and facilitate communications and cyber security audits, redundancies, and back-up systems
  Communications and controls systems could be designed for more limited failure
  Evaluating communications and controls for EMP withstand capabilities

## Slide 15: Pertinent IEEE Standards 1 (2)
End of Life Assessment for Protection and Control Devices
Criteria for Security Systems for Nuclear Power Generating Stations
IEEE Guide for Assessing, Monitoring and Mitigating Aging Effects on Electrical Equipment Used in Nuclear Power Generating Stations and other Nuclear Facilities
IEEE 1402 – Minimum requirements and practices for physical security of electric power substations
IEEE 1686 – Standard for Intelligent Electronic Devices Cyber Security Capabilities

## Slide 16: Pertinent IEEE Standards 2 (2)
Working Group C10 – Requirement and Application of the Substation Cyber Security Standard: 1646
Working Group C6 – Trial Use Standard for a Cryptographic Protocol for Cyber Security of Substation Serial Links
1815-2012 – IEEE Standard for Electric Power Systems Communications Distributed Network Control (DNP3)
Working Group C16 – P2030.102.1 Interoperability of IPSEC Utilized within Utility Control Systems

## Slide 17: Recommendations – Asset Management 1 (2)
Increased federal R&D for emerging technologies that may impact T&D grids, including new types of generation, new uses of electricity and energy storage, with an additional focus on deployment and integration of such technologies to improve the reliability, efficiency and management of the grids
Application of pro-active widespread condition monitoring, integrating condition and operational data, has been shown to provide a benefit to real-time system operations, both in terms of asset use and cost-effective planned replacement of assets

## Slide 18: Recommendations – Asset Management 2 (2)
Infrastructure security requires a new model for private sector-government relationships.
  Overlapping and inconsistent roles and authorities hinder development of productive working relationships and operational measures
Perform critical spares and gaps analysis
  A detailed inventory is needed of critical equipment, the number and location of available spares and the level of interchangeability between sites and companies.
  Mechanisms need to be developed for stockpiling long lead-time equipment and for reimbursement to the stockpiling authority, be it private or government. Other approaches include standardizing equipment to reduce lead times and increase interchangeability

## Slide 19: Recommendations – Security, Privacy, and Resilience 1 (4)
Facilitate, encourage, or mandate that secure sensing, “defense in depth,” fast reconfiguration and self-healing be built into the infrastructure.
Continue developing regional planning of a more redundant and less vulnerable transmission grid
Continue developing operational tools to more accurately forecast the availability of natural gas supply for generators and improve unit commitment decisions

## Slide 20: Recommendations – Security, Privacy, and Resilience 2 (4)
Mandate consumer data privacy and security for AMI systems to provide protection against personal profiling, real-time remote surveillance, identity theft and home invasions, activity censorship and decisions based on inaccurate data
Support alternatives for Utilities that wish to eliminate the use of wireless telecom networks and the public Internet to decrease grid vulnerabilities
  Include options for utilities to obtain private spectrum at a reasonable costs

## Slide 21: Recommendations – Security, Privacy, and Resilience 3 (4)
Improve the sharing of intelligence and threat information and analysis to develop proactive protection strategies,
  Includes development of coordinated hierarchical threat coordination centers – at local, regional and national levels
  May require either more security clearances issued to electric sector individuals or treatment of some intelligence and threat information and analysis as sensitive business information, rather than as classified information

## Slide 22: Recommendations – Security, Privacy, and Resilience 4 (4)
Speed up the development and enforcement of cyber security standards, compliance requirements and their adoption. Facilitate and encourage design of security from the start and include it in standards
Design communications and controls systems for more limited failures including better EMP withstand capabilities
Increase investment in the grid and in R&D areas that assure the security of the cyber infrastructure (algorithms, protocols, chip-level & application-level)

## Slide 23: Recommendations – Markets and Policy 1 (2)
Use the National Institute of Standards and Technology Smart Grid Collaboration or the NARUC Smart Grid Collaborative as models to bridge the jurisdictional gap between the federal and the state regulatory organizations on issues such as technology upgrades and system security
More transparent, participatory and collaborative discussion among federal and state agencies, transmission and distribution asset owners, regional transmission operators and independent system operators and their members and supporting research to improve understanding of mutual impacts, interactions and benefits

## Slide 24: Recommendations – Markets and Policy 2 (2)
Continue working at a federal level on better coordination of electricity and gas markets to mitigate potential new reliability issues due to increasing reliance on gas generation
Update the wholesale market design to reflect the speed at which a generator can increase or decrease the amount of generation needed to complement variable resources

## Slide 25: Summary Recommendations
Support holistic, integrated approach in simultaneously managing fleet of assets to best achieve optimal cost-effective solutions addressing the following:
  Aging infrastructure
  Grid hardening (including weather-related events, physical vulnerability, and cyber-physical security)
  System reliability
Urgently address managing new Smart Grid assets such as advanced metering infrastructure (AMI) and intelligent electronic devices

## Slide 26: IEEE REPORT TO DOE QER ON PRIORITY ISSUES www.ieee-pes.org/qer