## Slide 1: Smart Buildings Initiative
Zach Brown, UM
Blake Bjornson, MSU

## Slide 2: Objectives
Control utility costs -> Control cost of education
Good for the state, good for the student
Address deferred maintenance and comfort issues
Safety concerns and efficient operation
Reduce energy consumption
Accomplish strategic goals
Notes: MUS – instruction + academic support + student services at least 70% of total expenditures
UM – climate neutrality by 2020
MSU -

## Slide 3: Four Steps
Install smart metering equipment
Develop metrics and set goals
Implement conservation projects
Reinvest savings
Notes: This is not entirely new – campuses have created strategic utility plans before. This is new b/c it seeks to involve students more and it takes a look at MUS as a whole.

## Slide 4: Install Smart Metering Equipment
Measures utility inputs into a building
Outputs this data to real-time monitoring system
Information is used to identify “energy hogs” and problem areas
Measure results and see improvement and degradation
Control systems based on demand
Approximate cost/building
We are on our way! (MSU, UM, MSU-B et al.)
Notes: Examples of smart metering – lights at Bobcat Stadium, electricity in boxes at Griz stadium
Control Systems: Based on demand response – effectively and dynamically manage the load – smart grid
Approximate cost/building: $10-15k

## Slide 5: Energy CAP
Monitoring system used by DEQ
Energyusage.mt.gov
Current data is based on energy bills
Input data could be from smart meters

## Slide 6
Notes: Welding Lab at Tech

## Slide 7: Four Steps
Install smart metering equipment
Develop metrics and set goals
Implement conservation projects
Reinvest savings

## Slide 8: Develop Metrics and Set Goals
Metrics and goals should be campus specific
Electric and Gas Metric: Btu/sq.ft.
A similar metric can be set for water consumption
Goals—LEED certification
  New buildings
  EBOM
State Code: High Performance Building Standards
Notes: Campus specific because of different missions – research institutions will naturally consume much more
COB is shooting for 35 Btu/sq ft, current buildings average is 80-100
New buildings LEED – per sq. ft. consumption is lower than old buildings

## Slide 9: High-performance building standards
MCA 17-2-213 states that:
  “The department (of administration), in collaboration with the Montana university system and other state agencies, shall adopt high-performance building standards”
  In developing these standards, the department shall consider:
    integrated design principles to optimize energy performance, enhance indoor environmental quality, and conserve natural resources;
    cost-effectiveness, including productivity, deferred maintenance, and operational considerations;
    environmental, economic, and social sustainability of materials and components; and
    building functionality, durability, and maintenance.
LEED is a framework used around the world
Notes: Passed by the 2009 legislature
LEED – don’t reinvent the wheel
Push State A&E to implement

## Slide 10: Four Steps
Install smart metering equipment
Develop metrics and set goals
Implement conservation projects
Reinvest savings

## Slide 11: Implement Conservation Projects
2 categories:
  Engineering projects
  Behavior change and building management

## Slide 12: Engineering Projects
Facilities-intensive projects
Funding could include:
  DEQ State Building Energy Conservation Program
  Energy Performance Contract
  LRBP
  General Fund budgets
Inclusion of students important, but minimal
  Technical internships
  Feasibility/design studies
Notes:   DEQ program - working with the Fed’s to get more money in this pool
  General fund projects – major maintenance, deferred maintenance
  Internships – school credit, funding; Governor’s Energy Intern

## Slide 13: Behavioral Projects
Student/faculty/staff driven
Change must come from within
Develop technical working groups, outreach through classes (MSU Architecture)
“Smart Buildings Initiative” behavior change groups—classes?
Energy internships—Governor’s Energy Intern program

## Slide 14: Four Steps
Install smart metering equipment
Develop metrics and set goals
Implement conservation projects
Reinvest savings

## Slide 15: Savings Reinvestment
Utility spending can be separated between state and tuition
Savings can be separated proportionally
Tuition savings can be reinvested in campus
  Instruction, Academic Support, Student Services
  Tuition Control
  Energy Conservation
Decided by campus

## Slide 16: Recommendations
Establish metrics and goals
  Btu/sq.ft.
  High-Performance Building Standards
Invest in the infrastructure
Continue to support utility savings projects
Push for behavioral change – provide framework for cultural change
Reinvest tuition savings to make campus better

## Slide 17: Thank you – Questions?
Zach Brown
  Zachary.Brown@hotmail.com
Blake Bjornson
  Blake.Bjornson@gmail.com